# 447 Main St- NP V10 DA TEST -   Current

# Project profile

## Buildings

### Building 1

Enter details for each building in the development.You must account for all buildings.A minimum ofonebuilding must be entered before any dwellings and spaces can be profiled.

Building height (number of levels excluding basements) : 4

Building footprint : 966 Square Metres

## Dwellings

### Grouped Table

Enter details for each dwelling in the development. You must account for all dwellings, but dwellings may be grouped where they share similar thermal properties.

| Type | Apartment | All |
| --- | --- | --- |

| Area | 76.0 | LG01 |
| --- | --- | --- |
|  | 84.0 | LG02 |
|  |  | 205 |
|  | 50.0 | G01 |
|  |  | G02 |
|  | 57.0 | G03 |
|  |  | 103 |
|  |  | 206 |
|  | 69.0 | G04 |
|  |  | 104 |
|  |  | 106 |
|  | 65.0 | G05 |
|  |  | 105 |
|  | 53.0 | G06 |
|  | 44.0 | G07 |
|  | 43.0 | G08 |
|  | 54.0 | G09 |
|  | 68.0 | G10 |
|  | 64.0 | 101 |
|  |  | 201 |
|  | 47.0 | 102 |
|  | 63.0 | 107 |
|  |  | 202 |
|  |  | 203 |
|  | 55.0 | 108 |
|  | 72.0 | 109 |
|  |  | 207 |
|  | 86.0 | 204 |
|  | 88.0 | 301 |
|  | 78.0 | 302 |
|  |  | 303 |
|  | 71.0 | 304 |
|  |  | 403 |
|  | 61.0 | 401 |
|  | 74.0 | 402 Square Metres |

| Bedrooms | 2 | LG01 |
| --- | --- | --- |
|  |  | LG02 |
|  |  | G03 |
|  |  | G04 |
|  |  | G05 |
|  |  | G06 |
|  |  | G10 |
|  |  | 101 |
|  |  | 103 |
|  |  | 104 |
|  |  | 105 |
|  |  | 106 |
|  |  | 107 |
|  |  | 109 |
|  |  | 201 |
|  |  | 202 |
|  |  | 203 |
|  |  | 204 |
|  |  | 205 |
|  |  | 207 |
|  |  | 301 |
|  |  | 302 |
|  |  | 303 |
|  |  | 401 |
|  |  | 402 |
|  | 1 | G01 |
|  |  | G02 |
|  |  | G07 |
|  |  | G08 |
|  |  | G09 |
|  |  | 102 |
|  |  | 108 |
|  |  | 206 |
|  | 3 | 304 |
|  |  | 403 |

| Quantity | 1 | All |
| --- | --- | --- |

| Building | Building 1 | All |
| --- | --- | --- |

## Non-Residential Spaces

### GF Retail

Enter details for each non-residential space in the development. You must account for all spaces, but spaces may be grouped where they share similar thermal properties.

Type : Shop

Area : 200 Square Metres

Quantity : 1

Building : Building 1

## Project Details

### Grouped Table

Welcome to the Built Environment Sustainability Scorecard. On this page, set up any buildings, dwellings and non-residential spaces. Once these are created, BESS determines the questions and credits relevant to your project.

Project Name : 447 Main St- NP V10 DA TEST

Version Name :

Site Type : Mixed use development

Is this a Future Homes design? :

Site Area : 1406 Square Metres

Dwelling Area : 2484 Square Metres

Year Last Approval : 2016

Existing Floor Area : Square Metres

Proposed Floor Area : Square Metres

Floor Area to be demolished : Square Metres

Planning Number :

Map :

Council : Kingston City Council

Street Address : 447 Main St

Suburb : Mordialloc

State : Victoria

Postcode : 3195

# Management

## 1.1 Pre-Application Meeting

Has an ESD professional been engaged to provide sustainability advice from schematic design to construction? AND Has the ESD professional been involved in a pre-application meeting with Council?

Criteria Achieved ? : No

## 2.2 Thermal Performance Modelling - Multi-Dwelling Residential

Have preliminary NatHERS ratings been undertaken for all thermally unique dwellings?

Criteria Achieved ? : Yes

## 2.3 Thermal Performance Modelling - Non-Residential

Has a preliminary facade assessment been undertaken in accordance with NCC2022 Section J4D6?

Criteria Achieved ? : Yes

Has preliminary modelling been undertaken in accordance with either NCC2022 Section J (Energy Efficiency), NABERS or Green Star?

Criteria Achieved ? : No

Score : 50%

Weighting : 2% weight

Disabled Reason : None

Scoped Out Reason : No reason provided. This credit is not scoped out until a reason is provided.

Supporting Evidence : Required

## 3.1 Metering - Residential

Have utility meters been provided for all individual dwellings?

Criteria Achieved ? : Yes

## 3.2 Metering - Non-Residential

Have utility meters been provided for all individual  commercial tenants?

Criteria Achieved ? : Yes

## 3.3 Metering - Common Areas

Have all major common area services been separately submetered?

Score : 100%

Weighting : 12.5% weight

Disabled Reason : None

Scoped Out Reason : No reason provided. This credit is not scoped out until a reason is provided.

Supporting Evidence : Required

## 3.3 Metering - Common Areas (Apartment)

Have all major common area services been separately submetered?

Criteria Achieved ? : Yes

## 3.3 Metering - Common Areas (Shop)

Have all major common area services been separately submetered?

Criteria Achieved ? : Yes

## 4.1 Building Users Guide

Will a building users guide be produced and issued to occupants?

Criteria Achieved ? : Yes

# Integrated Water Management

## Fixtures, fittings & connections profile

### Grouped Table

The information you enter here is used to calculate water consumption against a benchmark building. The results feed into the water credits.

| Building | Building 1 | All |
| --- | --- | --- |

| Showerhead | 4 Star WELS (>= 6.0 but <= 7.5) | All |
| --- | --- | --- |

| Bath | Scope out | All |
| --- | --- | --- |

| Kitchen Taps | >= 6 Star WELS rating | All |
| --- | --- | --- |

| Bathroom Taps | >= 6 Star WELS rating | All |
| --- | --- | --- |

| Dishwashers | >= 5 Star WELS rating | All |
| --- | --- | --- |

| WC | >= 4 Star WELS rating | All |
| --- | --- | --- |

| Urinals | Scope out | All |
| --- | --- | --- |

| Washing Machine Water Efficiency | Occupant to Install | All |
| --- | --- | --- |

| Which non-potable water source is the dwelling/space connected to? | Rainwater Tank 1 | All |
| --- | --- | --- |

| Non-potable water source connected to Toilets | Yes | All |
| --- | --- | --- |

| Non-potable water source connected to Laundry (washing machine) | No | All |
| --- | --- | --- |

| Non-potable water source connected to Hot Water System | No | All |
| --- | --- | --- |

## Project profile

### Untitled Table

The information you enter in this profile relates to the whole site.

Do you have a reticulated third pipe or an on-site water recycling system? : No

Are you installing a swimming pool? : No

## Rainwater tank profile

### Rainwater Tank 1

Enter all rainwater tanks for your project. Connections to these tanks are entered in the 'Water fixtures, fittings and connections profile'.

What is the total roof area connected to the rainwater tank? : 323 Square Metres

Will this tank be connected to the reticulated third pipe or onsite water recycling system? : No

Tank Size : 10,000 Litres

Irrigation area connected to tank : Square Metres

Is connected irrigation area a water efficient garden? : No

Other external water demand connected to tank? : Litres/Day

## Recycled third pipe / on site water recycling system profile

### Grouped Table

Enter all recycled third pipe and on site water recycling systems for your project. Connections to these systems are entered in the 'Rainwater tank profile' and the 'Fixtures, fittings and connections profile'.

Recycled Profile Name : Third pipe

Irrigation area connected to reticulated third pipe or an on-site water recycling system only (i.e. not also connected to rainwater system) : Square Metres

Water Efficient Garden? :

Other external water demand connected to reticulated third pipe or an on-site water recycling system only (i.e. not also connected to rainwater system) : Litres/Day

## Stormwater profile

### Grouped Table

Enter the stormwater quality modelling type and results for your project.

Which stormwater modelling software are you using? : Blue Factor

Blue Factor score achieved? : 100

Flow : % Reduction

Total Suspended Solids : % Reduction

Total Phosphorus : % Reduction

Total Nitrogen : % Reduction

## 1.1 Potable Water Use

What is the reduction in total potable water use due to efficient fixtures, appliances, rainwater use and recycled water use? To achieve points in this credit there must be >25% potable water reduction.

Score : 48%

Weighting : 31.2% weight

Disabled Reason : None

Scoped Out Reason : No reason provided. This credit is not scoped out until a reason is provided.

Supporting Evidence : Required

## 2.1 Stormwater Treatment

Has best practice stormwater management been demonstrated?

Score : 100%

Weighting : 56.2% weight

Disabled Reason : None

Scoped Out Reason : No reason provided. This credit is not scoped out until a reason is provided.

Supporting Evidence : Required

## 3.1 Water Efficient Landscaping

Will water efficient landscaping be installed?

Criteria Achieved ? : Yes

## 4.1 Building Systems Water Use

Where applicable, have measures been taken to reduce potable water consumption by >80% in the buildings air-conditioning chillers and when testing fire safety systems?

Criteria Achieved ? : No

# Operational Energy

## Dwellings profile

### Grouped Table

The information you enter here is used to calculate energy consumption and greenhouse emissions against a benchmark building. The results feed into the energy credits.

| Building | Building 1 | All |
| --- | --- | --- |

| Below the floor is | Ground or Carpark | LG01 |
| --- | --- | --- |
|  |  | LG02 |
|  |  | G01 |
|  |  | G02 |
|  |  | G08 |
|  |  | G09 |
|  |  | G10 |
|  | Another Occupancy | G03 |
|  |  | G04 |
|  |  | G05 |
|  |  | G06 |
|  |  | G07 |
|  |  | 101 |
|  |  | 102 |
|  |  | 103 |
|  |  | 104 |
|  |  | 105 |
|  |  | 106 |
|  |  | 107 |
|  |  | 108 |
|  |  | 109 |
|  |  | 201 |
|  |  | 202 |
|  |  | 203 |
|  |  | 204 |
|  |  | 205 |
|  |  | 206 |
|  |  | 207 |
|  |  | 301 |
|  |  | 302 |
|  |  | 303 |
|  |  | 304 |
|  |  | 401 |
|  |  | 402 |
|  |  | 403 |

| Above the ceiling is | Another Occupancy | LG01 |
| --- | --- | --- |
|  |  | LG02 |
|  |  | G01 |
|  |  | G02 |
|  |  | G03 |
|  |  | G04 |
|  |  | G05 |
|  |  | G06 |
|  |  | G07 |
|  |  | G08 |
|  |  | G09 |
|  |  | G10 |
|  |  | 101 |
|  |  | 102 |
|  |  | 103 |
|  |  | 104 |
|  |  | 105 |
|  |  | 106 |
|  |  | 107 |
|  |  | 108 |
|  |  | 109 |
|  |  | 201 |
|  |  | 202 |
|  |  | 203 |
|  |  | 204 |
|  |  | 205 |
|  |  | 206 |
|  |  | 207 |
|  |  | 301 |
|  |  | 302 |
|  |  | 304 |
|  | Outside | 303 |
|  |  | 401 |
|  |  | 402 |
|  |  | 403 |

| Exposed sides | 1 | LG01 |
| --- | --- | --- |
|  |  | LG02 |
|  |  | G02 |
|  |  | G03 |
|  |  | G04 |
|  |  | G05 |
|  |  | G07 |
|  |  | G08 |
|  |  | G09 |
|  | 2 | G01 |
|  |  | G06 |
|  |  | G10 |
|  |  | 102 |
|  |  | 103 |
|  |  | 104 |
|  |  | 107 |
|  |  | 108 |
|  |  | 202 |
|  |  | 203 |
|  |  | 206 |
|  |  | 302 |
|  | 3 | 101 |
|  |  | 105 |
|  |  | 106 |
|  |  | 109 |
|  |  | 201 |
|  |  | 204 |
|  |  | 205 |
|  |  | 207 |
|  |  | 301 |
|  |  | 303 |
|  |  | 401 |
|  |  | 402 |
|  | 4 | 304 |
|  |  | 403 |

| NatHERS Annual Energy Loads - Heat | 82.0 | All,unit=MJ/sqm |
| --- | --- | --- |

| NatHERS Annual Energy Loads - Cool | 25.0 | All,unit=MJ/sqm |
| --- | --- | --- |

| NatHERS star rating | 8.0 | All |
| --- | --- | --- |

| Type of Heating System | Reverse cycle space | All |
| --- | --- | --- |

| Heating System Efficiency | 2.5 Stars (2019 MEPS) | All |
| --- | --- | --- |

| Type of Cooling System | Refrigerative space | All |
| --- | --- | --- |

| Cooling System Efficiency | 4 Stars (2019 MEPS) | All |
| --- | --- | --- |

| Type of Hot Water System | Electric Instantaneous | All |
| --- | --- | --- |

| Is the hot water system shared by multiple dwellings? | No | All |
| --- | --- | --- |

| % Contribution from solar hot water system | 0% | All |
| --- | --- | --- |

| Clothes Line | No drying facilities | All |
| --- | --- | --- |

| Clothes Dryer | Occupant to install | All |
| --- | --- | --- |

## Non-residential buildings profile

### Building 1

For non-residential spaces, enter your JV3 modelling results in the table.Results are now entered per building.These results feed into the BESS energy credits.If your building is made up of more than one building class, BESS apportions the JV3 modelling results by floor area to facilitate the credit scoring system. This may not reflect the modelling results if these spaces were modelled separately.

Heating, Cooling & Comfort VentilationElectricityReference fabric and Reference services : 1,000 kWh

Heating, Cooling & Comfort VentilationElectricityProposed fabricand Reference services : 999 kWh

Heating, Cooling & Comfort VentilationElectricityProposed fabricandProposed services : 999 kWh

Heating - Gas - Reference fabric and services : 0.0 MJ

Heating - Gas -Proposed fabricand Reference services : 0.0 MJ

HeatingGasProposed fabric&Proposed services : 0.0 MJ

HeatingWoodReference fabric and Reference services : 0.0 MJ

HeatingWoodProposed fabricand Reference services : 0.0 MJ

HeatingWoodProposed fabricandProposed services : 0.0 MJ

Hot WaterElectricity- Reference : 1,000 kWh

Hot WaterElectricity-Proposed : 1,000 kWh

Hot WaterGas- Reference : 0.0 MJ

Hot WaterGas-Proposed : 0.0 MJ

LightingElectricity- Reference : 1,000 kWh

LightingElectricity-Proposed : 1,000 kWh

Peak Thermal Cooling LoadReference : 10.0 kW

Peak Thermal Cooling LoadProposed : 10.0 kW

## Non-residential Deemed-to-Satisfy profile

### Grouped Table

Deemed-to-Satisfy methodYour non-residential spaces can use the Deemed-to-Satisfy method for the Energy section. If you cannot meet the Deemed-to-Satisfy criteria, it may still be possible to achieve energy credit points by providing your own calculations, through a Section J energy efficiency report or JV3 model report.For unconditioned spaces, only the hot water criterion must be satisfied.

Do all exposed floors and ceilings (forming part of the envelope) demonstrate a minimum 10% improvement in required NCC2022 insulation levels (total R-value upwards and downwards)? :

Does all wall and glazing demonstrate meeting the required NCC2022 facade calculator (or better than the total allowance)? :

Are heating and cooling systems within one Star of the most efficient equivalent capacity unit available, or Coefficient of Performance (CoP) & Energy Efficiency Ratios (EER) not less than 85% of the CoP & EER of the most efficient equivalent capacity unit available? :

Are water heating systems within one star of the best available, or 85% or better than the most efficient equivalent capacity unit? :

## Project profile

### Untitled Table

The information you enter here will be used to set up other profiling questions, fields and credits for your project.

Use the BESS Deem to Satisfy (DtS) method for Non-residential spaces? : No

## 1.1 Thermal Performance Rating - Non-Residential

What is the % reduction in heating and cooling energy consumption against the reference case (NCC2022 Section J)?

Score : 12%

Weighting : 3.5% weight

Disabled Reason : None

Scoped Out Reason : No reason provided. This credit is not scoped out until a reason is provided.

Supporting Evidence : Required

## 1.1 Thermal Performance Rating - Non-Residential (Shop)

What is the % reduction in heating and cooling energy consumption against the reference case (NCC2022 Section J)?

Deemed-to-Satisfy : Yes

## 1.2 Thermal Performance Rating - Residential

What is the average NatHERS rating?

NATHERS Rating ? :  Stars

## 2.1 Greenhouse Gas Emissions

What is the % reduction in annual greenhouse gas emissions against the benchmark?

Score : 5%

Weighting : 15.8% weight

Disabled Reason : None

Scoped Out Reason : No reason provided. This credit is not scoped out until a reason is provided.

Supporting Evidence : Required

## 2.1 Greenhouse Gas Emissions (Apartment)

What is the % reduction in annual greenhouse gas emissions against the benchmark?

Percentage Achieved ? :  Percentage %

## 2.1 Greenhouse Gas Emissions (Shop)

What is the % reduction in annual greenhouse gas emissions against the benchmark?

Deemed-to-Satisfy : Yes

## 2.2 Peak Demand

What is the % reduction in the instantaneous (peak-hour) demand against the benchmark?

Score : 100%

Weighting : 0.4% weight

Disabled Reason : None

Scoped Out Reason : No reason provided. This credit is not scoped out until a reason is provided.

Supporting Evidence : Required

## 2.2 Peak Demand (Shop)

What is the % reduction in the instantaneous (peak-hour) demand against the benchmark?

Deemed-to-Satisfy : Yes

## 2.6 Electrification

Is the development all-electric?

Criteria Achieved? : Yes

## 2.7 Energy consumption

What is the % reduction in annual energy consumption against the benchmark?

Score : 100%

Weighting : 21.6% weight

Disabled Reason : None

Scoped Out Reason : No reason provided. This credit is not scoped out until a reason is provided.

Supporting Evidence : Required

## 2.7 Energy consumption (Apartment)

What is the % reduction in annual energy consumption against the benchmark?

Percentage Achieved? :  Percentage %

## 2.7 Energy consumption (Shop)

What is the % reduction in annual energy consumption against the benchmark?

Deemed-to-Satisfy : Yes

## 3.1 Carpark Ventilation

If you have an enclosed carpark, is it: (a) fully naturally ventilated (no mechanical ventilation system) or (b) 40 car spaces or less with Carbon Monoxide monitoring to control the operation and speed of the ventilation fans?

Criteria Achieved ? : Yes

## 3.2 Hot Water - Non-Residential

What is the % reduction in annual energy consumption (gas and electricity) of the hot water system against the benchmark?

Score : 100%

Weighting : 0.4% weight

Disabled Reason : None

Scoped Out Reason : No reason provided. This credit is not scoped out until a reason is provided.

Supporting Evidence : Required

## 3.2 Hot Water - Non-Residential (Shop)

What is the % reduction in annual energy consumption (gas and electricity) of the hot water system against the benchmark?

Deemed-to-Satisfy : Yes

## 3.4 Clothes Drying

What is the % reduction in annual energy consumption (gas and electricity) from a combination of clothes lines and efficient driers against the benchmark?

Percentage Achieved ? :  Percentage %

## 3.6 Internal Lighting - Apartments

Is the maximum illumination power density (W/m2) in at least 90% of the relevant building class at least 20% lower than required by clause J7D3(1)(a) and Table J6.2a of the NCC 2022 Vol 1 (Class 2-9)?

Criteria Achieved ? : Yes

## 3.7 Internal Lighting - Non-Residential

Does the maximum illumination power density (W/m2) in at least 90% of the area of the relevant building class meet the requirements in Table J7D3a of the NCC 2022 Vol 1?

Criteria Achieved ? : Yes

## 4.1 Combined Heat and Power (cogeneration / trigeneration)

What is the reduction in annual greenhouse gas emissions of the CHP system for the class of building?

Net Electricity Generation :  kWh

Gas Consumption :  MJ

## 4.2 Renewable Energy Systems - Solar

What % of the estimated energy consumption of the building class it supplies does the solar power system provide?

Score : 0%

Weighting : 5.4% weight

Disabled Reason : No solar PV renewable energy is in use.

Scoped Out Reason : No reason provided. This credit is not scoped out until a reason is provided.

Supporting Evidence : Required

## 4.4 Renewable Energy Systems - Other

Does another form of renewable energy (not solar) provide 5% of the estimated energy consumption of the building class it supplies?

Score : 0%

Weighting : 5.4% weight

Disabled Reason : None

Scoped Out Reason : No reason provided. This credit is not scoped out until a reason is provided.

Supporting Evidence : Required

## 4.4 Renewable Energy Systems - Other (Apartment)

Does another form of renewable energy (not solar) provide 5% of the estimated energy consumption of the building class it supplies?

Other Renewable Energy - Energy Generation per year :  kWh

## 4.4 Renewable Energy Systems - Other (Shop)

Does another form of renewable energy (not solar) provide 5% of the estimated energy consumption of the building class it supplies?

Other Renewable Energy - Energy Generation per year :  kWh

# Indoor Environment Quality

## Dwellings Deemed-to-Satisfy profile

### Grouped Table

You must satisfy ALL of the criteria to achieve the following daylight credits:IEQ 1.1 Daylight Access - Living Areas (100%)IEQ 1.2 Daylight Access - Bedrooms (100%)Under the DtS method there is no partial compliance.

Are all living areas and bedrooms less than 8m deep (5m if south facing)? :

Do all living areas and bedrooms have a floor-to-ceiling height of at least 2.7m? :

Does all glazing to living areas achieve at least 60% Visible Light Transmittance (VLT)? :

Do all living areas have an external facing window (not into a courtyard, light well or other major obstruction)? :

Does the building(s) comply with the requirements of the building separation tables? :

## Project profile

### Untitled Table

The information you enter here will be used to set up other profiling questions, fields and credits for your project.

What metric do you want to use for daylight to apartments? : Spatial daylight autonomy

Daylight Factor: use the BESS Deemed to Satisfy (DtS) method? : No

## Spatial daylight autonomy profile

### Grouped Table

Please provide the following habitable room daylight modelling information. Enter all habitable rooms in your project as either main living areas or secondary habitable rooms. Your inputs feed into these credits:IEQ 1.5 Daylight Access - Main Living AreasIEQ 1.6 Daylight Access - Secondary Habitable Rooms

Has the spatial daylight autonomy modelling been completed in line with the requirements outlined in the Spatial daylight autonomy section of Toolnotes? : Yes

Does every main living area that meets the single-metric bounds achieve adequate daylight to at least 50% of the floor area? : Yes

Does every main living area outside the single-metric bounds achieve:- adequate daylight to at least 50% of the floor area AND- visual acuity daylight to at least 90% of the floor area? : Yes

For main living areas, what is the lowest % floor area of adequate daylight of any individual area? : 50% Percentage %

What % of secondary habitable rooms achieve adequate daylight to at least 50% of the floor area of the room? : 80% Percentage %

Do all secondary habitable rooms achieve adequate daylight to at least 25% of the floor area of the room? : Yes

## 1.1 Daylight Access - Living Areas

What % of living areas achieve the daylight criteria?

Score : 0%

Weighting : Scoped Out

Disabled Reason : None

Scoped Out Reason : Daylight factor metric not in use

Supporting Evidence : Required

## 1.1 Daylight Access - Living Areas (Apartment)

What % of living areas achieve the daylight criteria?

Deemed-to-Satisfy : No

## 1.2 Daylight Access - Bedrooms

What % of bedrooms achieve the daylight criteria?

Score : 0%

Weighting : Scoped Out

Disabled Reason : None

Scoped Out Reason : Daylight factor metric not in use

Supporting Evidence : Required

## 1.2 Daylight Access - Bedrooms (Apartment)

What % of bedrooms achieve the daylight criteria?

Deemed-to-Satisfy : No

## 1.3 Winter Sunlight

Do 70% of dwellings receive at least 3 hours of direct sunlight in all Living areas between 9am and 3pm in mid-winter?

Criteria Achieved ? : No

## 1.4 Daylight Access - Non-Residential

What % of the nominated floor area has at least 2% daylight factor?

Percentage Achieved? : 33%

## 1.5 Daylight Access - Main Living Areas

What is the lowest % area achieving the daylight criteria of any main living area?

Score : 66%

Weighting : 26.1% weight

Disabled Reason : None

Scoped Out Reason : No reason provided. This credit is not scoped out until a reason is provided.

Supporting Evidence : Required

## 1.5 Daylight Access - Main Living Areas (Apartment - Calculated Results)

What is the lowest % area achieving the daylight criteria of any main living area?

Lowest calculated percentage floor area of adequate daylight of any individual main living area : 50%

## 1.6 Daylight Access - Secondary Habitable Rooms

What % of secondary habitable areas by number achieve the daylight criteria?

Score : 66%

Weighting : 26.1% weight

Disabled Reason : None

Scoped Out Reason : No reason provided. This credit is not scoped out until a reason is provided.

Supporting Evidence : Required

## 1.6 Daylight Access - Secondary Habitable Rooms (Apartment - Calculated Results)

What % of secondary habitable areas by number achieve the daylight criteria?

Percentage of secondary habitable rooms achieving adequate daylight to at least 50% of the floor area of the room : 80%

## 2.1 Ventilation - Natural - Apartments

What % of dwellings are effectively naturally ventilated?

Percentage Achieved? : 100%

## 2.3 Ventilation - Non-Residential

What % of the regular use areas are effectively naturally ventilated?

Percentage Achieved? :  Percentage %

What increase in outdoor air is available to regular use areas compared to the minimum required by AS 1668.2:2012?

Percentage Achieved? : 50%

What CO2 concentrations are the ventilation systems designed to achieve, to monitor and to maintain?

Value :  ppm

Score : 33%

Weighting : 4.6% weight

Disabled Reason : None

Scoped Out Reason : No reason provided. This credit is not scoped out until a reason is provided.

Supporting Evidence : Required

## 3.4 Thermal comfort - Shading - Non-Residential

What percentage of east, north and west glazing to regular use areas is effectively shaded?

Percentage Achieved? : 30%

Score : 0%

Weighting : 2.3% weight

Disabled Reason : None

Scoped Out Reason : No reason provided. This credit is not scoped out until a reason is provided.

Supporting Evidence : Required

## 3.5 Thermal Comfort - Ceiling Fans - Non-Residential

What percentage of regular use areas in tenancies have ceiling fans?

Percentage Achieved? : 0%

## 4.1 Air Quality - Non-Residential

Do all paints, sealants and adhesives meet the maximum total indoor pollutant emission limits?

Criteria Achieved ? : Yes

Does all carpet meet the maximum total indoor pollutant emission limits?

Criteria Achieved ? : Yes

Does all engineered wood meet the maximum total indoor pollutant emission limits?

Criteria Achieved ? : Yes

Score : 100%

Weighting : 0.8% weight

Disabled Reason : None

Scoped Out Reason : No reason provided. This credit is not scoped out until a reason is provided.

Supporting Evidence : Required

# Transport

## 1.1 Bicycle Parking - Residential

How many secure and undercover bicycle spaces are there for residents?

Score : 100%

Weighting : 20.6% weight

Disabled Reason : None

Scoped Out Reason : No reason provided. This credit is not scoped out until a reason is provided.

Supporting Evidence : Required

## 1.1 Bicycle Parking - Residential (Apartment - Requirements)

How many secure and undercover bicycle spaces are there for residents?

Min Bicycle Spaces Required : 35

## 1.2 Bicycle Parking - Residential Visitor

How many secure bicycle spaces are there for visitors?

Score : 0%

Weighting : 20.6% weight

Disabled Reason : None

Scoped Out Reason : No reason provided. This credit is not scoped out until a reason is provided.

Supporting Evidence : Required

## 1.2 Bicycle Parking - Residential Visitor (Apartment - Requirements)

How many secure bicycle spaces are there for visitors?

Min Visitor Bicycle Spaces Required : 7

## 1.3 Bicycle Parking - Convenience Residential

Are bike parking facilities for residents located at ground or entry level?

Criteria Achieved ? : Yes

## 1.4 Bicycle Parking - Non-Residential

Have the planning scheme requirements for employee bicycle parking been exceeded by at least 50% (or a minimum of 2 where there is no planning scheme requirement)?

Criteria Achieved ? : Yes

Bicycle Spaces Provided ? : 2

## 1.5 Bicycle Parking - Non-Residential Visitor

Have the planning scheme requirements for visitor bicycle parking been exceeded by at least 50% (or a minimum of 1 where there is no planning scheme requirement)?

Criteria Achieved ? : Yes

Bicycle Spaces Provided ? : 1

## 1.6 End of Trip Facilities - Non-Residential

Where adequate bicycle parking has been provided. Is there also:

* 1 shower for the first 5 employee bicycle spaces plus 1 to each 10 employee bicycles spaces thereafter,

* changing facilities adjacent to showers, and

* one secure locker per employee bicycle space in the vicinity of the changing / shower facilities?

Score : 100%

Weighting : 0.9% weight

Disabled Reason : None

Scoped Out Reason : No reason provided. This credit is not scoped out until a reason is provided.

Supporting Evidence : Required

## 1.6 End of Trip Facilities - Non-Residential (Shop - Requirements)

Where adequate bicycle parking has been provided. Is there also:

* 1 shower for the first 5 employee bicycle spaces plus 1 to each 10 employee bicycles spaces thereafter,

* changing facilities adjacent to showers, and

* one secure locker per employee bicycle space in the vicinity of the changing / shower facilities?

Min Showers Required : 1

Min Lockers Required : 2

## 2.1 Electric Vehicle Infrastructure

Are facilities provided for the charging of electric vehicles?

Criteria Achieved ? : Yes

## 2.2 Car Share Scheme

Has a formal car sharing scheme been integrated into the development?

Criteria Achieved ? : No

## 2.3 Motorbikes / Mopeds

Are a minimum of 5% of vehicle parking spaces designed and labelled for motorbikes (must be at least 5 motorbike spaces)?

Criteria Achieved ? : No

# Waste & Resource Recovery

## 1.1 Construction Waste - Building Re-Use

If the development is on a site that has been previously developed, has at least 30% of the existing building been re-used?

Criteria Achieved ? : No

## 2.1 Operational Waste - Food & Garden Waste

Are facilities provided for on-site management of food and garden waste?

Criteria Achieved ? : Yes

## 2.2 Operational Waste - Convenience of Recycling

Are the recycling facilities at least as convenient for occupants as facilities for general waste?

Criteria Achieved ? : Yes

# Urban Ecology

## 1.1 Communal Spaces

Is there at least the following amount of common space measured in square meters :

* 1m² for each of the first 50 occupants

* Additional 0.5m² for each occupant between 51 and 250

* Additional 0.25m² for each occupant above 251?

Score : 91%

Weighting : 11.2% weight

Disabled Reason : None

Scoped Out Reason : No reason provided. This credit is not scoped out until a reason is provided.

Supporting Evidence : Required

## 1.1 Communal Spaces (Apartment - Requirements)

Is there at least the following amount of common space measured in square meters :

* 1m² for each of the first 50 occupants

* Additional 0.5m² for each occupant between 51 and 250

* Additional 0.25m² for each occupant above 251?

Minimum Common Space Required : 55 Square Metres

## 1.1 Communal Spaces (Apartment)

Is there at least the following amount of common space measured in square meters :

* 1m² for each of the first 50 occupants

* Additional 0.5m² for each occupant between 51 and 250

* Additional 0.25m² for each occupant above 251?

Common space provided : 183 Square Metres

## 1.1 Communal Spaces (Shop - Requirements)

Is there at least the following amount of common space measured in square meters :

* 1m² for each of the first 50 occupants

* Additional 0.5m² for each occupant between 51 and 250

* Additional 0.25m² for each occupant above 251?

Minimum Common Space Required : 20 Square Metres

## 1.1 Communal Spaces (Shop)

Is there at least the following amount of common space measured in square meters :

* 1m² for each of the first 50 occupants

* Additional 0.5m² for each occupant between 51 and 250

* Additional 0.25m² for each occupant above 251?

Common space provided : 0.0 Square Metres

## 2.1 Vegetation

How much of the site is covered with vegetation, expressed as a percentage of the total site area?

Percentage Achieved ? : 31%

## 2.2 Green Roofs

Does the development incorporate a green roof?

Criteria Achieved ? : Yes

## 2.3 Green Walls and Facades

Does the development incorporate a green wall or green façade?

Criteria Achieved ? : No

## 2.4 Balconies, Courtyards & Roof terraces

Is there a tap and floor waste on every balcony and courtyard (including any roof terraces)?

Criteria Achieved ? : Yes

## 3.1 Food Production - Residential

What area of space per resident is dedicated to food production?

Score : 0%

Weighting : 10.3% weight

Disabled Reason : None

Scoped Out Reason : No reason provided. This credit is not scoped out until a reason is provided.

Supporting Evidence : Required

## 3.1 Food Production - Residential (Apartment - Requirements)

What area of space per resident is dedicated to food production?

Min Food Production Area : 16 Square Metres

## 3.2 Food Production - Non-Residential

What area of space per occupant is dedicated to food production?

Score : 0%

Weighting : 0.9% weight

Disabled Reason : None

Scoped Out Reason : No reason provided. This credit is not scoped out until a reason is provided.

Supporting Evidence : Required

## 3.2 Food Production - Non-Residential (Shop - Requirements)

What area of space per occupant is dedicated to food production?

Min Food Production Area : 5 Square Metres

# Innovation

## 1.1 Innovation

What percentage of the Innovation points have been claimed (10 points maximum)?

Score : 0%

Weighting : 100% weight

Disabled Reason : None

Scoped Out Reason : No reason provided. This credit is not scoped out until a reason is provided.

Supporting Evidence : Required

# Supporting Evidence